## Lot 1-General Summary
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH₵) | AMOUNT (GH₵)
GENERAL SUMMARY
Lot 1 - Nadowli District Area
SITING DRILLING AND CONSTRUCTION OF 10No. HANDPUMP BOREHOLES AND MECHANISATION OF 1No. BOREHOLE WITH 10,000LITRES OVERHEAD STORAGE TANK AND 4No. STANDPIPES AT VARIOUS LOCATIONS
A | BILL NO. 1 - PRELIMINARIES AND GENERAL CONDITIONS OF CONTRACT | 1 | Item | 0 | 0
B | BILL NO. 2 - SITING, DRILLING AND CONSTRUCTION OF BOREHOLES WITH HAND PUMP | 10 | Nr. | 0 | 0
B | BILL NO. 3A - SITING, DRILLING AND MECHANISATION OF 1No. BOREHOLE WITH 10,000LITRES OVERHEAD STORAGE TANK AND 4No. STANDPIPES | 1 | Nr. | 0 | 0
C | BILL NO. 3B: MECHANISATION OF 1No. BOREHOLE | 1 | Nr. | 0 | 0
D | BILL NO. 3C: PUMP CONTROL ROOM | 1 | Nr. | 0 | 0
E | BILL NO. 3D: CONSTRUCTION OF 4 No. STANDPIPES (Overhead Tap and Low Level Tap) | 1 | Nr. | 0 | 0
| Sub-total 1 |  |  |  | 0
| Add: for Contingency |  | 5% |  | 0
| TOTAL BID PRICE CARRIED TO FORM OF BID |  |  |  | 0

## Bill Nr. 1 Preliminaries
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH₵) | AMOUNT (GH₵)
BILL NR. 1 - PRELIMINARIES AND GENERAL CONDITIONS
A - PRELIMINARIES AND GENERAL VONDITIONS
Project Particulars
A | Name:
| SITING DRILLING AND CONSTRUCTION OF 10No. HANDPUMP BOREHOLES AND MECHANISATION OF 1No. BOREHOLE WITH 10,000LITRES OVERHEAD STORAGE TANK AND 4No. STANDPIPES - Lot 1 |  | Item
B | Location:
| Various locations |  | Item
C | Employer:
| ActionAid Ghana |  | Item
D | Consultant:
Homeland Resources Limited
P. O. Box CT 2011
| Cantonments, Accra |  | Item
The Site / Existing Building
E | Site Boundaries
site boudaries are as shown in the project
| drawings |  | Item
F | Existing Buildings on or adjacent to the site
no existing building on site; existing
| department buildings adjacent to the site |  | Item
G | Existing mains/ Services
| Allow for relocating existing services |  | Item
CONTRACTUAL REQUIREMENTS
H | Performnce Security | 1 | sum |  | 0
J | Contractor's All In Risk Insurance | 1 | sum |  | 0
K | Advance Payment Security | 1 | sum |  | 0
| Carried to Collection |  |  |  | 0
SPECIFIED REQUIREMENTS
A | Provide & install Project sign post indicating Contract Name, Contractor, Source of Funding and Supervising Agency as per ER's instructions | 1 | Nr. |  | 0
B | Allow a provisional sum of GHS 33,000.00 to Maintain and operate RE's vehicle and logistics including fuel, repair but no Driver | 1 | P Sum |  | 0
C | Allow a provisional sum of GHS 11,000.00 for the Provision of Attendance for Engineer and Engineer's staff | 1 | P Sum |  | 0
METHOD-RELATED CHARGES CHARGES
D | Provide progress photographs (set of six) during and after borehole construction | 6 | set |  | 0
E | Allow for compliance with EMP in accordance with the environmental and Social Safeguards Specifications (part II of specifications) | 1 | sum |  | 0
| Carried to Collection |  |  |  | 0
COLLECTIONS
| Page 1 |  |  |  | 0
| Page 2 |  |  |  | 0
PRELIMINARIES AND GENERAL CONDITIONS
| Total Carried to General Summary |  |  |  | 0

## Bill Nr. 2 - Handpump Borehole
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH₵) | AMOUNT (GH₵)
SITING, DRILLING AND CONSTRUCTION OF 1No. BOREHOLE WITH HANDPUMP
HYDROGEOLOGICAL INVESTIGATIONS
A | Carry out Geophysical Profiling and Investigations (Siting) | 1 | LS |  | 0
| Sub-total |  |  |  | 0
MOBILISATION AND DEMOBILIZATION To and from a drilling site inlcuding mounting and dismounting at each site
B | Mobilization to site | 1 | LS |  | 0
C | De-mobilization to site | 1 | LS |  | 0
D | Movement between communities within district | 200 | Km |  | 0
E | Movement between sites within a community including making access to site | 0 | Km |  | 0
F | Site clearance for all boreholes sites including bushes and trees with girth less than 0.6m | 10 | m2 |  | 0
G | Removal of trees with girth >0.6m | 0 | Nr. |  | 0
| Sub-total |  |  |  | 0
BOREHOLE DRILLING To a finished diameter of 125mm.
Including the appropriate methodology of drilling (e.g. air drilling, mud drilling, reverse circulation drilling, water drilling etc.). Also includes drilling larger diameter pilot holes for installation of recovered and unrecovered working and protection casing as well as installation of Bell Mouth.
H | Drilling through overburden and highly weathered rock | 20 | m |  | 0
J | Drilling through partially weqathered to fresh crystaline, consolidated, unconsolidated, any type of rock . | 60 | m |  | 0
| Sub-total |  |  |  | 0
HYDROFRACTURE (Provisional)
K | Hydrofracture on marginal boreholes | 0 | LS |  | 0
| Sub-total |  |  |  | 0
BOREHOLE CONSTRUCTION
Including the supply and installation of centralisers, PVC pipes and PVC screens, gravels and grout seals.
A | Supply and install pvc plain pipes with centralisers to a finished diameter of 125mm. | 45 | m |  | 0
B | Supply and install pvc slotted pipes (screens) with centralisers to a finished diameter of 125mm. | 25 | m |  | 0
C | Supply and place 2-4mm gravels, packed, as in design type A. | 40 | m |  | 0
D | Supply cement, mix and place grout seal above gravel as in design type A. | 4 | m |  | 0
E | Backfill annulus space above grout seal as in design type A. | 21 | m |  | 0
F | Supply cement, mix and place grout seal above backfill as sanitary grout seal as in design type A. | 2 | m |  | 0
| Sub-total |  |  |  | 0
BOREHOLE DEVELOPMENT & CHLRORINATION
G | Including any apppropriate borehle development methodology and or combination of borehole development methods to develop water clarity (e.g. air lifting, mechani+B5cal surging, high velocity jetting, backwashing over-pumping etc) | 3 | hrs. |  | 0
H | Chlorinate succssfully developed borehole | 1 | Nr. |  | 0
| Sub-total |  |  |  | 0
PUMPING TEST
Include supply, installation and removal of pumping test equipment, constant rate discharge test and recovery test.
H | Supply, install and remove equipment for carrying out pumping test on hand pump boreholes. | 1 | L/S |  | 0
J | Conduct minimum 6hrs constant rate discharge test on hand pump boreholes. | 6 | hrs. |  | 0
K | Conduct up to 90% recovery test on hand pump boreholes. | 3 | hrs. |  | 0
| Sub-total |  |  |  | 0
WATER QUALITY TEST
Include sampling,physio-chemical analysis and bacteriological analysis.
A | Take, label and store sample of water from borehole for analyses. | 1 | L/S |  | 0
B | Carry out physio-chemical analyses as specified. | 1 | L/S |  | 0
C | Carry out bacteriological analyses as specified | 1 | L/S |  | 0
| Sub-total |  |  |  | 0
MARGINAL AND UNSUCESSFUL BOREHOLES
Include boreholes with yields less than 10litres per min. and completely dry wells
D | Supply and install 1m reducer (200/140mm) well seated in formation in preparation for hydrofracture in marginal yield boreholes including temporary cap on protection casing. | 2 | m |  | 0
E | Backfill unsucessful boreholes | 1 | L/S |  | 0
| Sub-total |  |  |  | 0
F | BOREHOLE CAPPING/BAIL PLUG
G | Supply and fix suitable cap on borehole. | 1 | L/S |  | 0
H | Supply and fix bail plug on bottom as in design type A. | 1 | L/S |  | 0
J | Provide protection for boreholes as specified by Engineer | 1 | Nr. |  | 0
| Sub-total |  |  |  | 0
BOREHOLE CONCRETE PAD
Supply all materials and construct concrete pad on positive borehole for hand pump installation as specified by drawings
Earthworks
A | Clear site around existing pad and set out | 10 | m2 |  | 0
B | Excavate to firm ground to a depth of 250mm for borehole platform | 2 | m3 |  | 0
C | Ditto for drain(provisional) | 1 | m3 |  | 0
D | Excavate drainage pit to a maximum depth not exceeding500mm | 1 | m3 |  | 0
E | Approved imported material filling to raise level of pad and compact in 150mm layers (provisional) | 1 | m3 |  | 0
F | Backfill selected material | 2 | m3 |  | 0
G | Remove surplus soil from site | 3 | m3 |  | 0
Concrete Works and Reinforcement
H | Plain concrete grade20-20 aggregate for new well pad | 1 | m3 |  | 0
J | Ditto for drain | 1 | m3 |  | 0
K | Ditto for drainage pit | 1 | m3 |  | 0
L | Steel fabric mesh reinforcement No. 65 with 300mm minimum side laps both ways | 6 | m2 |  | 0
Formwork
M | Perimeter of pad | 2 | m2 |  | 0
N | Sides of drain | 1 | m2 |  | 0
P | Sides of drianage pit | 1 | m2 |  | 0
Blockwork
Q | 100mm thick concrete (1:4:5-10mm) blockwork jointed in cement sand motar (1:4) | 20 | m2 |  | 0
Soakaway
R | Exacavate for soakaway pit(1200mm x1000mm) to a maximum depth not exceeding 1000mm | 2 | m3 |  | 0
S | Remove surplus soil from site | 2 | m3 |  | 0
T | Place broken soft rock in pit (provisional) | 2 | m3 |  | 0
Overflow Pipe
U | 200mmx50mm dia. PVC Pipe | 4 | Nr. |  | 0
Foundation Bolt
V | 16mm stainless bolt to receive pump base | 4 | Nr. |  | 0
| sub-total |  |  |  | 0
SUPPLY & INSTALLATION OF HANDPUMP
A | Procure and install Ghana Modified India Mark II (GMIMII) hand pump including all accessories. | 1 | Nr. |  | 0
B | Procure and install Afredev hand pump including all accessories (Provisional). | 1 | Nr. |  | 0
C | Disinfect borehole after hand pump installation using chlorine (min. 50mg. chlorine/litre) | 1 | Nr. |  | 0
D | Supply and embed in concrete brass number plate [40 x 100 mm] punched with location and ID Number Hand Pump | 1 | Nr. |  | 0
| sub-total |  |  |  | 0
RISING MAIN FITTINGS
Supply and fix
A | 63mm double flanged G.I. Pipe, 3.1m long | 1 | Nr. |  | 0
B | 63mm double flanged G.I. Pipe, 0.5m long | 1 | Nr. |  | 0
C | 63mm double flanged G.I. Pipe, 1.1m long | 1 | Nr. |  | 0
D | 63mm double flanged G.I. Pipe, 2.8m long | 1 | Nr. |  | 0
E | Double flanged D.I. Bend, OD 63mm, 90° | 1 | Nr. |  | 0
F | Double flanged D.I. Bend OD 63mm 45° | 1 | Nr. |  | 0
G | Borehole headplate and support flange | 1 | Nr. |  | 0
H | GI/PVC adopter | 1 | Nr. |  | 0
| sub-total |  |  |  | 0
TRAINING OF PUMP CARETAKERS & DRILLING REPORT
J | Train 2 caretakers in maintenance and repair of hand pump in each borehole community. | 1 | L/S |  | 0
K | Supply set of tools and basic spare parts according to the requirements of the pump manual nessary to carry out the routing maintenance by the caretakers. | 1 | L/S |  | 0
L | Submit detailed drilling report | 1 | L/S |  | 0
| sub-total |  |  |  | 0
Summary
A | Hydrogeological Investigations |  |  |  | 0
B | Mobilisation and Demobilisation |  |  |  | 0
C | Borehole Drilling |  |  |  | 0
D | Hydrofracture |  |  |  | 0
E | Borehole Construction |  |  |  | 0
F | Borehole Development & Chlorination |  |  |  | 0
G | Pumping Test |  |  |  | 0
H | Water Quality Test |  |  |  | 0
J | Marginal and Unsuccessful Boreholes |  |  |  | 0
K | Borehole Capping/Bail Plug |  |  |  | 0
L | Borehole Concrete Pad |  |  |  | 0
M | Supply and Installation of Hand Pump |  |  |  | 0
N | Rising Main Fittings |  |  |  | 0
P | Training of Caretakers and Submission of Drilling Report |  |  |  | 0
| Sub-total |  |  |  | 0
| Total Estimated Cost for 1No. Borehole |  |  |  | 0

## Bill Nr. 3A Mechanised BH Drill
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH₵) | AMOUNT (GH₵)
SITING, DRILLING AND MECHANISATION OF 1No. BOREHOLE WITH 10,000LITRES OVERHEAD STORAGE TANK AND 4No. STANDPIPES AT VARIOUS LOCATIONS
BILL NO. 3A: DRILLING AND CONSTRUCTION OF 1 NO. BOREHOLE
BOREHOLE DRILLING
Hydrogeological Investigations
A | Carry out Geophysical Profiling and Investigations (Siting) | 1 | Item |  | 0
Mobilisation/Demobilisation to project site
B | Mobilisation and demobilisation to and from the Project Site | 1 | Item |  | 0
C | Movement between communities within district | 200 | km |  | 0
D | Mounting and Dismounting at the drilling site | 1 | Nr. |  | 0
E | Site clearance for all boreholes sites including bushes and trees with girth less than 0.6m | 10 | m2 |  | 0
F | Removal of trees with girth >0.6m (Provisional) | 0 | Nr. |  | 0
Borehole Drilling
Including the appropriate methodology of drilling (e.g. air drilling, mud drilling, reverse circulation drilling, water drilling etc.). Also includes drilling larger diameter pilot holes for installation of recovered and unrecovered working and protection casing as well as installation of Bell Mouth.
G | Drilling through overburden and highly weathered rock | 20 | m |  | 0
H | Drilling through partially weqathered to fresh crystaline, consolidated, unconsolidated, any type of rock . | 60 | m |  | 0
HYDROFRACTURE (Provisional)
J | Hydrofracture on marginal boreholes | 0 | LS |  | 0
BOREHOLE DRILLING
| Total Carried to Summary |  |  |  | 0
BOREHOLE CONSTRUCTION AND DEVELOPMENT
Borehole Construction
A | Supply and Install 125/140mm PVC casing | 45 | m |  | 0
B | Supply and Install 125/140mm screens | 15 | m |  | 0
C | Supply and Install gravel pack | 40 | m |  | 0
D | Supply cement, mix and place grout above gravel | 4 | m |  | 0
E | Backfill annulus above grout | 21 | m |  | 0
F | Supply cement and seal top of the borehole | 2 | m |  | 0
Borehole Development
G | Including any apppropriate borehle development methodology and or combination of borehole development methods to develop water clarity (e.g. air lifting, mechani+B5cal surging, high velocity jetting, backwashing over-pumping etc) | 3 | Hrs |  | 0
H | Chlorinate succssfully developed borehole | 1 | Nr. |  | 0
Pumping Tests
J | Supply and Install equipment for carrying out pumping test on borehole | 1 | Nr. |  | 0
K | Carry out constant discharge test
|  | 6 | Hrs |  | 0
L | Carry out recovery test on
|  | 3 | Hrs |  | 0
Water Quality test
M | Carry out Physical and Chemical Analysis | 1 | Nr. |  | 0
N | Carry out Bacteriological Analysis | 1 | Nr. |  | 0
Training of Pump Caretakers & Drilling Reporting
P | Train 2 caretakers in maintenance and repair of hand pump in each borehole community. | 1 | Item |  | 0
Q | Supply set of tools and basic spare parts according to the requirements of the pump manual nessary to carry out the routing maintenance by the caretakers. | 1 | Item |  | 0
R | Submit detailed drilling report | 1 | Item |  | 0
BOREHOLE CONSTRUCTION AND DEVELOPMENT
| Total Carried to Summary |  |  |  | 0
SUMMARY
A | BOREHOLE DRILLING |  |  |  | 0
B | BOREHOLE CONSTRUCTION AND DEVELOPMENT |  |  |  | 0
DRILLING AND CONSTRUCTION OF 1 NO. BOREHOLE
| Total Carried to General Summary |  |  |  | 0

## Bill Nr. 3B BH Mechanisation
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH₵) | AMOUNT (GH₵)
DRILLING AND MECHANISATION OF 1No. BOREHOLE WITH 10,000LITRES OVERHEAD STORAGE TANK AND 4No. STANDPIPES AT VARIOUS LOCATIONS
BILL NO. 3B: MECHANISATION OF 1No. BOREHOLE
CIVIL WORKS
Groundworks
A | General clearance of site of all bushes and shrub undergrowth and cut down small trees not exceeding 500mm girth | 60 | m2 |  | 0
B | Excavate to firm ground to a depth of 250mm foundation for borehole platform | 1 | m3 |  | 0
C | Excavate to firm ground to a depth of 250mm foundation of pipe support | 1 | m3 |  | 0
D | Gravelling of yard size approximately 10 x 5.5 with hardcore filling average 150mm thick, spread level, compacted and covered with 12-20mm size hard stone chippings, 50mm thick. | 1 | Nr. |  | 0
In Situ Concrete
Reinforced in-situ concrete, grade = 25, min cement 410kg/m3, aggregates 5 -20mm in:
F | Reinforced concrete (1:2:4) in pipe support / Platform | 2 | m3 |  | 0
Reinforcement
G | Supply, bending and fixing of MS bars , R10mm in Pipe support | 20 | kg |  | 0
Formwork
E | Vertical sides of pipe support | 4 | m2 |  | 0
F | Vertical sides of borehole platform | 4 | m2 |  | 0
| Total Carried to Collection |  |  |  | 0
Metal Work
Fencing
A | Provide chain-link fencing of size about 10mx6m with 2No. Concrete gate posts, and 11No. Fence posts 450 x 450mm (with nominal reinforcement) in pit foundation 620 x 620 x 650mm deep, height of fence 2.5 - 3m | 1 | Nr. |  | 0
Gate
B | Metal gate consisting of two leaves, overall size 3.5x1.8m, with 40mm galvanised pipe as stiles, top, bottom and bracing rails, cover one side with 3mm diameter expanded galvanised iron square mesh as shown in relevant standard drawing. Include painting of welded joints only with one coat red oxide; supply one brass padlock. | 1 | Nr. |  | 0
| Total Carried to Collection |  |  |  | 0
COLLECTIONS
| Page 1 |  |  |  | 0
| Page 2 |  |  |  | 0
CIVIL WORKS
| Total Carried to Summary |  |  |  | 0
ELECTRO-MECHANICAL WORKS
PUMP SUPPLY
A | Solar Submersible Water Pump, Head max. 90m, Flow rate max. 4.8 m³/hr, Control inputs for dry running protection, remote control etc. Protected against reverse polarity, overload and overtemperature, Integrated MPPT (Maximum Power Point Tracking), Integrated Sun Sensor, Maintenance-free brushless DC motor, Water filled, Premium materials, stainless steel: AISI 304/316, No electronics in the motor,Rated power 1.5 kW, Efficiency max. 92 %, Motor speed 900...3,300 rpm, Insulation class F, Enclosure class IP68 Submersion max. 150 m, (Delivery of Water from borhole to tanks) | 1 | Nr. |  | 0
PUMP CHARACTERISTICS
Head, H=80m
Discharge,Q=4.8m3/hr
SOLAR ENERGY SYSTEM
B | Timer Relay | 1 | Nr. |  | 0
C | Nylon cable tied to the submersible pump to serve as guard (Safty Cable) | 200 | m |  | 0
D | Solar Generator and Accessories,- 1500Wp, Voltage 36Vsufficient to power the selected pump | 1500 | wp |  | 0
E | PV cable, connectors and combiner box | 1 | I/s |  | 0
F | Customised aluminium and galvanized steel ground mounting brackets including welded panel locks, reinforced concrete foundations for installation of Solar panels | 1 | No. |  | 0
SUPPLY AND INSTALL AND TEST BOREHOLE HYDRAULIC HEAD COMPRISING THE FOLLOWING:
G | PE Pipe PN 16, DN 32mm dia riser pipe | 70 | m |  | 0
H | PE to GI flange adaptor, OD 50mm | 2 | Nr. |  | 0
J | Bibcock with hose connection, nominal bore 15mm | 1 | Nr. |  | 0
K | Double flanged G.I/DI. Bend 45°, nominal bore 50mm | 2 | Nr. |  | 0
L | Double flanged G.I/DI. Bend 90°, nominal bore 50mm | 1 | Nr. |  | 0
M | HDPE flanged Adaptor, nominal bore 50mm | 2 | Nr. |  | 0
| Total Carried to Collection |  |  |  | 0
A | Level switch with control cabling | 1 | Nr. |  | 0
B | Water level guard 25mm dia | 1 | Nr. |  | 0
C | Flanged/spigot with thread | 1 | Nr. |  | 0
D | Pump supporting head with cable glands and supporting socket and sight holes | 1 | Nr. |  | 0
E | Set Bolts and nuts and flange gaskets sheet for all flanged joints | 1 | set |  | 0
Rising Main Pipe Work
F | HDPE pipes, OD 63mm (internal diameter 51mm) | 0 | m |  | 0
ELECTRICAL WORKS
Control Panel
G | Supply and install indoor control panel with the following specification as below: | 1 | Nr. |  | 0
- MP 204 Monitor
- Miniature circuit breaker (MAIN CIRCUIT)
- Miniature circuit breaker (CONTROL CIRCUIT)
- Miniature circuit breaker (AUXILIARY CIRCUIT)
- Lightening surge arrestor
- Start/stop push button
- Ammeter switch
- Voltmeter (Digital)
- Voltmeter switch
- Timer (Programmable for WORK-PAUSE-WORK) 0.1sec to 100 Days
- Auto-restart (with auxiliary relay)
Lighting including all cabling and switches for Control House
H | Internal lighting for control house, 30W sonlight round recessed LED complete | 1 | Nr. |  | 0
J | 2.5mm2 insulated cable | 100 | m |  | 0
K | External lighting for control house with 2N0. 40W LED Nova floodlight complete | 2 | Nr. |  | 0
L | 1.5mm2 insulated cable | 100 | m |  | 0
M | 2No. 13Amp Socket | 3 | Nr. |  | 0
| Total Carried to Collection |  |  |  | 0
A | Gang switch | 2 | Nr. |  | 0
B | Provide earthning to all electrical installation | 3 | Nr. |  | 0
C | Trunking 16 x 16mm | 5 | Nr. |  | 0
D | Trunking 16 x 25mm | 4 | Nr. |  | 0
Testing
G | 250W street light with sodium bulb and photocell complete on Teak pole (measured separately) | 1 | Nr. |  | 0
| Total Carried to Collection |  |  |  | 0
COLLECTIONS
| Page 3 |  |  |  | 0
| Page 4 |  |  |  | 0
| Page 5 |  |  |  | 0
0
SUMMARY
A | CIVIL WORKS |  |  |  | 0
B | ELECTRO-MECHANICAL WORKS |  |  |  | 0
MECHANISATION OF 1No. BOREHOLE
| Total Carried to General Summary |  |  |  | 0

## Bill Nr. 3C Pump Control Room
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH₵) | AMOUNT (GH₵)
DRILLING AND MECHANISATION OF 1No. BOREHOLE WITH 10,000LITRES OVERHEAD STORAGE TANK AND 4No. STANDPIPES AT VARIOUS LOCATIONS
BILL NO. 3C: PUMP CONTROL ROOM
CIVIL WORKS
SUBSTRUCTURE
Groundworks
A | Pits maximum depth not exceeding 1.5 m deep commencing at reduced level | 5 | m3 |  | 0
B | Trenches, width not exceeding 0.45m, maximum depth not exceeding 1.5m deep commencing at reduced level | 1 | m3 |  | 0
C | Extra over excavation for excavating in rock (Provisional) Backfill and compact selected excavated material around foundation | 1 | m3 |  | 0
Backfilling
D | Backfill and compact selected excavated material around foundation | 2 | m3 |  | 0
Disposal
E | Remove surplus excavated material from site | 4 | m3 |  | 0
Hardcore or laterite filling as described in:
F | Making up levels deposited and compacted 150mm maximum layers. | 4 | m3 |  | 0
In-situ concrete
G | Pain in-situ concrete C 15 blindingpoured on or against earth before hardcore filling and before colounm base | 1 | m3 |  | 0
H | Plain in-situ concrete 1:2:4 in foundation in trenches, beds and steps | 3 | m3 |  | 0
Reinforced vibrated concrete C25
J | Coloumn Bases | 2 | m3 |  | 0
Formwork as described to
K | Edges of bed 150mm wide | 12 | m |  | 0
Reinforcement for in-situ concrete
L | 16mm diameter bar in coloumn base | 324 | kg |  | 0
| Total Carried to Collection |  |  |  | 0
Block work
A | Solid sandcrete block work in cement and sand mortar in 150mm walls | 7 | m2 |  | 0
Plasterwork
B | 20mm cement and sand rendering as described to concrete or block work in walls | 5 | m2 |  | 0
Painting and Decorating
C | Prepare and apply two undercoats and on finishing coat of Gloss Terracota oil paint on rendered walls | 4 | m2 |  | 0
| Total Carried to Collection |  |  |  | 0
COLLECTIONS
| Page 1 |  |  |  | 0
| Page 2 |  |  |  | 0
SUBSTRUCTURE
| Total Carried to Summary |  |  |  | 0
SUPERSTRUCTURE
Reinforced vibrated concrete C25
A | Vibrated reinforced in-situ concrete, design mix 25N/mm2 at 28 days as described in coloumn size 250 x 250mm | 1 | m3 |  | 0
B | Vibrated reinforced in-situ concrete, design mix 25N/mm2 at 28 days as described in coloumn size 250 x 300mm | 1 | m3 |  | 0
Mild steel reinforcement, min. cover = 25mm
C | 16mm dia. bars in coloumns | 195 | kg |  | 0
D | 16mm dia. bars in beams | 158 | kg |  | 0
E | 8mm dia. bars in beam/lintel | 125 | kg |  | 0
Formwork as described to:
F | Sides of coloumns | 14 | m2 |  | 0
G | Sides and soffit of beam | 19 | m2 |  | 0
Block work
H | Solid sandcrete block work in cement and sand (1:4) mortar as described in 125mm walls | 33 | m2 |  | 0
ROOFING
Reinforced vibrated concrete C25
J | Vibrated reinforced in-situ concrete, design mix 25N/mm2 at 28 days as described roof slab size 250 x 250mm | 2 | m3 |  | 0
Mild steel reinforcement, min. cover=25mm
K | 12mm dia. bars in roof slab | 198 | kg |  | 0
Formwork as described to:
L | Sides and soffit of roof slab | 19 | m2 |  | 0
IN-SITU CONCRETE
| Total Carried to Summary |  |  |  | 0
DOORS/WINDOWS/METAL
A | 45mm (finished) panel door size 750 x 2100mm high | 1 | Nr. |  | 0
B | 45mm finished jalousie window size 600 x600 high comprising 25 x 75mm wooden louvres housed on rake in mortice to 45 x 75 mm frame icluding hinges | 1 | Nr.. |  | 0
Frames, sills and kerbs
C | 150 x 45 mm frame rebated and plugged including 50 x 15mm sawn splayed grounds | 1 | Nr. |  | 0
Metal Work
D | 16mm diameter mild steel bars cut to lengths and threaded to frame and fixed as burglar proof | 28 | m |  | 0
| Aluminium fly proof screen fixed as burglar proof | 2 | m2 |  | 0
Metal Anchorage and Ladder
E | Fabricate and install 10mm diameter mild steel bars in blockwork to hold in place firmly polytank | 20 | m |  | 0
F | Supply and install 2 x 5 steps metal ladder to help give access to polytank at the top of the control room | 1 | Nr. |  | 0
Ironmongery
G | Pair 100mm brass butt hinges | 2 | Nr. |  | 0
H | Ditto 75mm | 2 | Nr. |  | 0
J | Approved mortice lock with set of lever handle furniture | 1 | Nr. |  | 0
K | 100mm barrel bolt | 1 | Nr. |  | 0
DOORS/WINDOWS/METAL
| Total Carried to Summary |  |  |  | 0
SURFACE FINISHES
Cement and sand (1:3) as described in:
A | 50mm screeded paving laid in slope and finished with steel trowel | 6 | m2 |  | 0
Cement and sand (1:4) as described in:
B | 15mm backing to walls (for tyrolean finish) | 60 | m2 |  | 0
Tyrolean Finish
C | 10mm Tyrolean finish mixed with Febtone or similar approved agent applied with tyrolean dash machine coats to form striple finish to walls in accordance with manufacturers instructions | 60 | m2 |  | 0
PAINTING AND DECORATING
One coat of wood primer on joinery before fixing
D | General surfaces | 3 | m2 |  | 0
Two undercoats and one finishing coat of gloss oil paint on:
E | Rendered walls | 52 | m2 |  | 0
F | General surfaces of woodwork | 6 | m2 |  | 0
G | Ditto (measured flat) to jalousie | 4 | m2 |  | 0
SURFACE FINISHES
| Total Carried to Summary |  |  |  | 0
PLUMBING INSTALLATIONS
A | Supply and installation of 1No. RAMBO 1000 (10,000 Litres) Polytank with all accessories | 1 | Nr |  | 0
PLUMBING INSTALLATIONS
| Total Carried to Summary |  |  |  | 0
SUMMARY
A | SUBSTRUCTURE |  |  |  | 0
SUPERSTRUCTURE
B | IN-SITU CONCRETE |  |  |  | 0
C | DOORS/WINDOWS/METAL |  |  |  | 0
D | SURFACE FINISHES |  |  |  | 0
E | PLUMBING INSTALLATIONS |  |  |  | 0
PUMP CONTROL HOUSE
| Total Carried to General Summary |  |  |  | 0

## Bill Nr. 3D. 4 No.Standpipes
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH₵) | AMOUNT (GH₵)
DRILLING AND MECHANISATION OF 1No. BOREHOLE WITH 10,000LITRES OVERHEAD STORAGE TANK AND 4No. STANDPIPES AT VARIOUS LOCATIONS
BILL NO. 3D: CONSTRUCTION OF 4 No. STANDPIPES (Overhead Tap and Low Level Tap)
GROUNDWORKS
Excavation
A | Excavation for perimeter standpipe, soakaway wall and beam, depth not exceeding 300mm | 14 | m3 |  | 0
B | Ditto for valve chamber and soakaway depth not exceeding 600mm | 6 | m3 |  | 0
Filling
C | Hardcore filling below base slab and paving, well compacted to receive concrete slab and stone pitching | 12 | m3 |  | 0
FILLING FOR SOAKAWAY
D | Supply and fill stones size 50-100mm to soakaway | 2 | m3 |  | 0
E | Ditto 20-25mm perimeter soakaway | 2 | m3 |  | 0
STONE PAVING
F | Approved flat hard stone paving on well compacted hardcore surface 600mm wide, set in cement and sand (1:4) mortar, including filling joints. | 24 | m2 |  | 0
GROUNDWORKS
| Total Carried to Summary |  |  |  | 0
IN-SITU CONCRETE
Concrete
A | Plain in-situ concrete (mix 1:3:6 - 40mm aggregate) to perimeter beam, soakaway walls and blinding bed to standpipe base slab | 2 | m3 |  | 0
B | In-situ reinforced concrete (mix 1:2:4 - 40mm aggregate) in base slab | 2 | m3 |  | 0
C | Supply and install precast concrete valve chamber 700x400, 500mm deep,75mm thick walls, unreinforced concrete (25/ 20mm aggregate) with mesh reinforced concrete cover slab 50mm thick, including filling with 100mm thick layer of chippings | 2 | No. |  | 0
D | Supply and install mesh reinforced concrete (mix 1:2:4 - 20mm aggregate) cover slab 50mm thick with lifting handles to soakaway | 2 | No. |  | 0
Reinforcement
E | Reinforcement with mild steel 6mm bars to base slab and standpipe pillar | 46 | kg |  | 0
Formwork
F | Edges of base slab 150mm wide | 14 | m2 |  | 0
G | Sides of standpipe pillar 200mm wide including provision of chamfered edges | 2 | m2 |  | 0
H | V-Drain in base slab in 2% slope 60mm wide | 4 | m2 |  | 0
J | Sides of perimeter beam, 450mm wide | 18 | m2 |  | 0
K | Sides of soaway walls 1050mm wide | 12 | m2 |  | 0
IN-SITU CONCRETE
| Total Carried to Summary |  |  |  | 0
PLUMBING INSTALLATIONS
Pipework and Ancilliaries
Supply and install the following and fittings and accessories to valve chamber and standpipe
A | PVC reducer 50/25 mm dia | 4 | No. |  | 0
B | PVC pipe 25mm dia. Cut to required lengths | 12 | m |  | 0
C | PVC bend 90o x 25mm | 4 | No. |  | 0
D | PVC adapter 25mm dia | 8 | No. |  | 0
E | Galv. Bend 90o x 25mm dia | 4 | No. |  | 0
F | Galv.union 25mm dia. | 8 | No. |  | 0
G | Galv. nipple 25mm dia. | 16 | No. |  | 0
H | Galv. Pipe 25mm dia cut to required lengths, total length approx. 3000mm | 4 | No. |  | 0
J | Galv. Reducing socket 25/20 mm | 4 | No. |  | 0
K | Galv. Tee 25mm dia. | 4 | No. |  | 0
L | Approved heavy duty 'waste-not' spring tap 20mm dia | 8 | No. |  | 0
M | Heavy pattern quarter turn valve 25mm dia. | 4 | No. |  | 0
N | Water meter to 25mm pipe | 4 | No. |  | 0
P | Galv end cap dia = 25mm | 4 | No. |  | 0
Physically Challenged Walkway
Q | Concrete in Physically Challenged Ramp with overall size of 2000m long x 300mm high as per Architetcs instructions including finishes to the ramp | 2 | m3 |  | 0
PLUMBING INSTALLATIONS
| Total Carried to Summary |  |  |  | 0
SUMMARY
A | GROUNDWORKS |  |  |  | 0
B | IN-SITU CONCRETE |  |  |  | 0
C | PLUMBING INSTALLATIONS |  |  |  | 0
CONSTRUCTION OF 4 No. STANDPIPES
| Total Carried to General Summary |  |  |  | 0